Tutorial  for Chapter 5

1.	Using (0.42), prove Parseval’s theorem (0.43).

2.	Memorize the concepts of fringe visibility and coherence time

3.	Show that the degree of coherence function Re{ ()} reduces to cos (o ) in the case of a plane wave E (t) = E0ei(koz−ot) being sent through a Michelson interferometer. In other words, the output intensity from the interferometer reduces to

I = 2I0 [1 + cos ( )]

4.	Light emerging from a dense hot gas has a collisionally broadened power spectrum described by the Lorentzian function

The light is sent into a Michelson interferometer. What is the coherence time c of the light? HINT: See (0.46).

5.	Verify (5.19). HINT: Write  = || ei and assume that the oscillations in that give rise to fringes are due entirely to changes in  and that || is a slowly varying function in comparison to the oscillations.

6.	Show that the fringe visibility (5.21) of Gaussian distribution (5.20) goes from

1 to e−/2 = 0.21 as the round-trip path in one arm of the instrument is extended by a coherence length.

7.	Find the FWHM bandwidth in wavelength FWHM in terms of the coherence length lc and the center wavelength 0 associated with (5.20).

HINT: Derive . To convert to a wavelength difference, use

. You can ignore the minus sign; it simply means that wavelength decreases as frequency increases.

8.	A point source with wavelength  = 500 nm illuminates two parallel slits separated by h = 1.0 mm. If the screen is D = 2 m away, what is the separation between the two neighboring bright fringes on the screen?

9.	A thin piece of glass with thickness d = 0.01 mm and index n = 1.5 is placed in front of one of the slits. By how many fringes does the pattern at the screen move? HINT: This effectively introduces a relative phase  in (5.32). Compare the phase of the light when traversing the glass versus traversing an empty region of the same thickness.

10.	Design an experiment to carefully measure the separation of a double slit in the lab (h ≈1 mm separation) by shining a He-Ne laser ( = 633 nm) through it and measuring the bright fringe separations on a distant wall (say, D = 2.00 m). HINT: You can think of the very temporally and spatially coherent laser light as coming from a distant source. For better accuracy, measure across several fringes and divide.

11.	A light pulse has a temporal profile defined in (5.29) with 0 = 780 nm and T = 20 x 10-15 s. Find FWHM of the light pulse.

12.	A square light pulse is given by

E(t)=E0ei(k0z−ω0t)|t|≤T20|t|>T2

where E0 is a constant. Find its frequency spectrum by using the Fourier transform.